## VarMap
CODE | NAME | AREA | SOURCE | Memoria de cálculo | Informe de corrosión | Informe de cimentaciones | Lista de materiales | Bloques cad | Planos genéricos | Plano de layout | Statement del panelista | Informe ejecutivo | Memoria automatizada | SIZESMART | Cargas POT | PLANTSMART | Corrosión ambiental |  | CRITICAL VAR | MANDATORY VAR | ALLOWABLE VALUE | DATA TYPE | UNIT | DEFAUTL | DESCRIPCIÓN
0 | 1 | 2 | 3 | SR | CO | FR | BM | CB | GD | LD | PS | ER | ESMA | SZSM | POT | PLSM | CAMB | Más?? | 19 | 20 | 21 | 22 | 23 | 24 | 25
projectName | Nombre del proyecto | basic | INIT | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: text
client | Cliente | basic | INIT | [15 empty] | 19: TRUE; 20: TRUE
location | Localización | basic | INIT | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: code
projectSize | Potencia del la instalación | basic | INIT | [6 empty] | 1 |  | 1 | 1 | [5 empty] | TRUE | TRUE | 15:1000 | num | MW
product | Producto | basic | INIT |  | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: num
kam | Responsable Comercial | basic | INIT | [9 empty] | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: text
A | var 1 | area 1 | PREP | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | TRUE | TRUE |  | text |  | AA | descripción AA
B | var 2 | area 1 | PREP | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | TRUE | TRUE |  | code |  | BB | descripción BB
C | var 3 | area 1 | PREP |  | 1 | 1 | 1 |  | 1 | 1 |  |  | 2 | [5 empty] | TRUE | TRUE |  | num |  | CC | descripción CC
D | var 4 | area 1 | DEMO1 | [9 empty] | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: text; 25: descripción DD
E | var 5 | area 1 | DEMO1 | [8 empty] | 3 | [6 empty] | 19: TRUE; 20: TRUE; 22: code; 25: descripción EE
F | var 6 | area 1 | DEMO2 | 1 | 1 | [7 empty] | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: text; 25: descripción FF
G | var 7 | area 1 | DEMO2 | 1 | 1 |  |  |  | 1 | 1 |  |  | 2 | [5 empty] | 19: TRUE; 20: TRUE; 22: text; 25: descripción GG
H | var 8 | area 1 | DEMO1_Call2 |  | 1 | [7 empty] | 2 | [5 empty] | TRUE | TRUE | -90: +90 | num | GRADOS (°) |  | descripción HH
I | var 9 | area 1 | PREP |  | 1 | [7 empty] | 2 | [5 empty] | TRUE | TRUE | -90: +91 | num | GRADOS (°) | II | descripción II
tabla1 | tabla 1 | area 1 | PREP | [15 empty] | TRUE | TRUE |  | table |  | <t> <r><c>11000</c><c>12000</c><c>13000</c></r> <r><c>21000</c><c>22000</c><c>23000</c></r> <r><c>31000</c><c>32000</c><c>33000</c></r> <r><c>41000</c><c>42000</c><c>43000</c></r> </t> | tabla creada en prep
tabla2 | tabla 2 | area 1 | DEMO1 | [15 empty] | 19: TRUE; 20: TRUE; 22: table; 25: tabla sumando 100 a cada valor

## ToolMap
RESOURCE | ID | Call | NAME | VERSION | FILE TYPE | descripciom
0 | 1 | 2 | 3 | 4 | 5 | 6
TOOL | PREP | 1 | PrepTool | 0 | EXE | Preparation Tool
TOOL | DEMO1 | 1 | DemoFileName1 | 0 | XLSX | Fake Tool 1
TOOL | DEMO2 | 1 | DemoFileName2 | 0 | XLSX | Fake Tool 2
TOOL | DEMO1_Call2 | 2 | DemoFileName1 | 0 | XLSX | Fake Tool 1 segunda llamada
TEMPLATE | DEMO | 1 | DemoTemplate | 0 | DOCX | Fake Report 2

## Sheet3
Var Area | Var Source
init | entry
utils | PREP
basic | DEMO1
configuration | DEMO2
area 1 | DEMO1_C2
area 2
init
Resource Area | Resource Source | Resource File Type
init | entry | DOCX
utils | PREP | XLSX
basic | DEMO1 | XLSM
configuration | DEMO2 | EXE
area 1
area 2

## Sheet2
NATERA - 27,2 MW
Spain | [5 empty] | 0. PROJECT BASIC INFO
[6 empty] | Customer: | [5 empty] | EIFFAGE | [7 empty] | Offer Ref: |  |  | 2025-4
[6 empty] | Project Name: | [5 empty] | NATERA | [7 empty] | Creation Date: |  |  | 45674
[6 empty] | Total Power: | [5 empty] | 27.2 | [7 empty] | Expiration Date: |  |  | 45679
Date | Rev | Update | [9 empty] | Done | [5 empty] | GSS Contact
45674 | 1 | 0 | [6 empty] | CFR | [5 empty] | MRS
1. DESCRIPTION
TRACKER TrackSmarT+ 2V Compact |  |  | TRACKER CONTROLLER
Modules per Row: | 30 (2V) |  | Communications: | Zigbee
String Size: | 30 |  | Power Supply: | Selfpowered
Tr1 (Exposed-Row - 2Vx15) | 379 |  | N. Motors: | 1264
Tr2 (Sheltered-Row - 2Vx15) | 885 |  | Number of NCU: | 10
Ratio TCU/NCU: 126 uds
N. Trackers (TOTAL): | 1264 |  | Type of Control | P4Qselfpowered
Tracking range: | +/- 55º |  | FOUNDATION PILES
Pitch: | 9 |  | Soil Corrosion: | corrosive soil
Single Row Max Slope: | N-S: 15% --- E-W: ∞ |  | Piles Coating: | HDG100
|  |  | Piles Sacrifice thickness: | 0
|  |  | Foundation Type: | Direct Ramming
MODULE -TRINA | TSM-NEG21C.20 |  | Ramming Depth: | 1500
Module Dimensions: | 2384 mm x 1303 mm |  | Total N. Piles: | 3792
Module typology: | Bifacial Framed |  | IPS (Intelligent Piling System N-S): | NO
Module Power: | 717.35
N. Modules: | 37920 |  | *preliminary until POT
Total Power: | 27201912 |  | TRACKER:
Clamping method: | Screw (4 per module) |  | Corrosion category: | C3 medium
Rail Distance btw holes: * | 400 |  | Tubes Coating: | ZM310
(L rails = 2854 mm) |  |  | Rails Coating: | ZM310
* GSS designs according to the PV Module Manufacturer Installation Manual. GSS will provide the detailed fixing drawing between PV modules and the tracker itself. The customer will be the sole responsible for obtaining the validation statement from the Manufacturer in order not to void the PV Modules Warranties |  |  | Orography factor: | 1
[6 empty] | Maximum Clearance: | [6 empty] | 500.2151
[7 empty] | Tracker width | [6 empty] | 4798
Other comments: | [6 empty] | Tracker Length | [6 empty] | 17821
| 0 | [5 empty] | Max Axis Height: | [6 empty] | 2369
2. DESIGN LOADS | [5 empty] | Customer info
Geotech Report Ref:
CODE (Design Loads): | EUROCODE-CTE |  | Wind Load Coefficients: | Wind Tunnel & CFD |  | 0
Wind Speed in stow: | 27m/s - @10m/10min |  | Code (Verification) | EUROCODE | Topographic Drawing Ref:
Wind Speed working position: | 13,94m/s - @10m/10min | [9 empty] | 0
Dynamic Analysis: | WTT |  | Project GPS: | 36°42'31.84"N - 4°47'18.69"W |  |  |  | Lay-out Drawing Ref:
0
3. PILES AND QUANTITIES | [5 empty] | 4. DOCUMENTS AVAILABLE
| Tr1 (Exposed-Row - 2Vx15) |  | Tr2 (Sheltered-Row - 2Vx15)
W8x18 | 1 |  |  |  |  | Datasheet
W8x21 | 2 |  |  |  |  | O&M Manual
W6x8,5 |  |  | 1 |  |  | Warranty
W6x12 |  |  | 2 | [6 empty] | Commisioning Conditions
Detail of Spare Parts
Datasheet IPS
Notas sobre este borrador de formato:
1) Cambiad lo que consideréis. Es un primer borrador. Ha salido así como podía haber salido de otra manera
|  |  |  | 5. PRICING | [19 empty] | 27.2019 | 6. PAYMENT TERMS | [8 empty] | TIPO AMBIENTE (*) | CONSUMO micras Zn/año (1) | AÑOS DE GARANTIA REQUERIDOS (PREGALVA)
[36 empty] | 5 | 10 | 15 | 20 | 25
|  |  |  | 5.1 TRACKING SYSTEM | [12 empty] | Incoterm |  |  |  |  | EUR |  | EUR/Wp | 6.1 | Down payment (w/PO): |  |  | 20% Bank transfer (Net 10) |  |  |  |  | C1 | ≤ 0,1 | Z350 | Z350 | Z350 | Z350 | Z350
|  |  |  | Piles | [12 empty] | FCA/FOB |  |  |  |  | 301906.1761 |  | 0.011099 | 6.2 | Upon delivery: |  |  | 80% Bank transfer (Net 60) |  |  |  |  | C2 | ≤ 0,7 | Z350 | Z350 | Z350 | Z350 | Z350
|  |  |  | Tracker | [12 empty] | FCA/FOB |  |  |  |  | 1034160.0043 |  | 0.038018 | 6.3 | Currency: |  |  | EUR |  |  |  |  | C3 Bajo | ≤ 1,0 | Z350 | Z350 | Z350 | Z350 | HDG s/Norma
|  |  |  | Controllers & Slew Drives & Motors | [12 empty] | FCA/FOB |  |  |  |  | 636259.062 |  | 0.02339 | 6.4 | Exchange rate: |  |  | 1.019 |  |  |  |  | C3 Medio | ≤ 1,7 | Z350 | Z350 | Z350 | HDG s/Norma | HDG s/Norma
[16 empty] | SUBTOTAL FCA / FOB: | [5 empty] | 1972325.2425 |  | 0.072507 | [9 empty] | C3 Alto | ≤ 2,1 | Z350 | Z350 | HDG s/ NORMA | HDG s/ NORMA | HDG s/ NORMA
[24 empty] | 52,01 EUR/mod | Note: |  | Payment Terms subjected to credit risk limit confirmation | [6 empty] | C4 Medio | ≤ 3,2 | Z350 | HDG s/ NORMA | HDG s/ NORMA | HDG s/ NORMA | HDG 100 µm
|  |  |  | 5.2 LOGISTICS | [12 empty] | Incoterm |  |  |  |  | EUR |  | EUR/Wp | [9 empty] | C4 Alto | ≤ 4,2 | Z350 | HDG s/ NORMA | HDG s/ NORMA | HDG 100 µm | HDG 100 µm
|  |  |  | Full TRACKING SYSTEM | [12 empty] | FOB |  |  |  |  | 0 | [11 empty] | C5 Medio | ≤ 6,3 | HDG s/ NORMA | HDG s/ NORMA | HDG 100 µm | N/A | N/A
|  |  |  | (See transport details in Chapter 9) | [12 empty] | CIF Spain |  |  |  |  | 167522.9464 |  | 0.0061585 | 7. DELIVERY SCHEDULE | [8 empty] | C5 Alto | ≤ 8,4 | HDG s/ NORMA | HDG 100 µm | N/A | N/A | N/A
[17 empty] | DAP NATERA |  |  |  |  | 230184.5579 |  | 0.0084621
[17 empty] | DDP NATERA |  |  |  |  | 273823.5774 |  | 0.010066 | 7.1 | Incoterm 2020®: |  |  |  | DDP
[17 empty] | SUBTOTAL DDP |  |  |  |  | 2246148.8199 |  | 0.082573 | 7.2 | Delivery Schedule:
[24 empty] | 59,23 EUR/mod |  | *First Piles on site: |  |  |  | TBD
|  |  |  | *An unloading platform on site is mandatory according to GSS logistics manual | [21 empty] | *First Tracker on site: |  |  |  | TBD |  |  |  | TIPO AMBIENTE (*) | CONSUMO micras Zn/año (1) | AÑOS DE GARANTIA REQUERIDOS (Al-Zn-Mg)
|  |  |  | 5.3 COMMISSIONING | [17 empty] | EUR |  | EUR/Wp |  | *Estimated Delivery Rate: |  |  |  | 8 MW/week | [5 empty] | 5 | 10 | 15 | 20 | 25
[17 empty] | Commissioning |  |  |  |  | 33503.4353 |  | 0.0012317 | [9 empty] | C1 | ≤ 0,1 | ZM200 | ZM200 | ZM200 | ZM200 | ZM200
[26 empty] | *Pending on P.O. Date | [7 empty] | C2 | ≤ 0,7 | ZM200 | ZM200 | ZM200 | ZM200 | ZM200
[25 empty] | 8. WARRANTY | [8 empty] | C3 Bajo | ≤ 1,0 | ZM200 | ZM200 | ZM200 | ZM200 | ZM200
|  |  |  | SUBTOTAL DDP + COMMISSIONING: | [17 empty] | 2279652.2552 |  | 0.083805 | [9 empty] | C3 Medio | ≤ 1,7 | ZM200 | ZM200 | ZM200 | ZM310 | ZM310
[25 empty] | 8.1 | Corrosion protection |  |  |  |  | 25 years (C3 medium) |  |  | C3 Alto | ≤ 2,1 | ZM310 | ZM310 | ZM310 | ZM310 | ZM310
[22 empty] | 60,12 EUR/mod |  |  | 8.2 | Manufacturing Defects |  |  |  |  | 10 years |  |  | C4 Medio | ≤ 3,2 | ZM310 | ZM310 | ZM310 | ZM430 | ZM430
[25 empty] | 8.2 | Design |  |  |  |  | 10 years |  |  | C4 Alto | ≤ 4,2 | ZM430 | ZM430 | ZM430 | ZM430 | N/A
|  |  |  | 5.4 SPARE PARTS | [12 empty] | Period |  |  |  |  | EUR |  | EUR/Wp | 8.3 | Slew Drive and Motors |  |  |  |  | 5 years |  |  | C5 Medio | ≤ 6,3 | N/A | N/A | N/A | N/A | N/A
|  |  |  | Construction Spare Parts* | [12 empty] | Construction |  |  |  |  | 23810.6417 |  | 0.00087533 | 8.4 | Dampers |  |  |  |  | 5 years
|  |  |  | O&M Spare Parts* | [12 empty] | 2 years |  |  |  |  | 19443.1315 |  | 0.00071477 | 8.5 | Controllers & Batteries |  |  |  |  | 5 years |  |  | C5 Alto | ≤ 8,4 | N/A | N/A | N/A | N/A | N/A
[17 empty] | 5 years |  |  |  |  | 29674.6499 |  | 0.0010909 | 8.6 | Meteo Sensors |  |  |  |  | 2 years
[17 empty] | 10 years |  |  |  |  | 37177.492 |  | 0.0013667
|  |  |  | *Recommended Spare Parts | [12 empty] | 25 years |  |  |  |  | 47408.9989 |  | 0.0017429 | 9. TRANSPORTATION DETAILS
Corrosive Soil (Piles HDG 100)
|  |  |  | Spare Parts must be included in the main purchase order and must be supplied at the same time than the rest of the project. | [20 empty] | Type |  |  | ORIGIN | N. Containers
|  |  |  | 5.5 ADDITIONAL | [14 empty] | Unit |  |  | EUR |  | EUR/Wp | DV 20 |  |  | China | 11
|  |  |  | Extra Pile lentgh 100mm ** | [14 empty] | Project |  |  | 8219.6073 |  | 0.00030217 | DV 40 |  |  | China | 42 |  |  |  |  | NCU Palas
0
0
|  |  |  | Meteo Station | [14 empty] | 1 Unit |  |  | 10799.5294 |  | 0.00039701 |  |  |  |  | 0
[25 empty] | Truck |  |  | Spain | 5
|  |  |  | Rail (btw holes) x mm | [14 empty] | Rails (Total Project) | [9 empty] | 0
|  |  |  | Extra 60 grados | [14 empty] | Project
10. EXCLUSIONS
|  |  |  | Equipotential wires on all piles | [14 empty] | 2528 wires |  |  | 2954.5215 |  |  | - Site Unloading of supplied products
|  |  |  | Additional NCU Palas*** | [14 empty] | 1 NCU Palas |  |  | 3308.8588 |  |  | - Logistics DAP considers containers over trucks
[13 empty] | TOTAL OPTIONAL ITEMS: | [11 empty] | - Access to the plant must be appropiate
- Supervision of erection works
1 |  |  |  | 5.6 SERVICES PACKAGE | [14 empty] | Unit |  |  | EUR |  | EUR/Wp | - Weather Station must be installed before starting tracker installation.
2 |  |  |  | Engineering (Layouts, Calulation Report,…) | [14 empty] | Project |  |  | Included
3 | [24 empty] | ** Once the final foundation lenght is defined, project price will be updated according this price increase
4
5 | [24 empty] | *** The final number of NCU Palas will be updated according to the final layout. Actual ammount of NCU Palas considered is 10
6
7
8
[17 empty] | TOTAL SERVICES: |  |  |  |  | Included
[32 empty] | Additional NCUs |  | 1
[32 empty] | OVERALL PRICE |  | SÍ
[32 empty] | DDP |  | SI | 2246148.8199 | DDP +
[11 empty] | OVERALL PRICING* | [9 empty] | 2279653 | 2336661 |  | 0.085901 | [7 empty] | Commissioning |  | SI | 33503.4353 | Commissioning +
[21 empty] | 61,62 EUR/mod | [10 empty] | Construction Spare Parts |  | SI | 23810.6417 | Construction Spare Parts +
[32 empty] | 2 Years O&M Spare Parts |  | SI | 19443.1315 | 2 Years O&M Spare Parts +
|  |  |  | *DDP + Commissioning + Construction Spare Parts + 2 Years O&M Spare Parts + Equipotential wires on all piles + Meteo Station + Service package | [27 empty] | 5 Years O&M Spare Parts |  | NO | 0
[32 empty] | 10 Years O&M Spare Parts |  | NO | 0
[32 empty] | 25 Years O&M Spare Parts |  | NO | 0
[32 empty] | Custom Spare Parts |  | NO
[32 empty] | Equipotential wires on all piles |  | SI | 2954.5215 | Equipotential wires on all piles +
[32 empty] | 1 Additional NCU Palas*** |  | NO | 0
[32 empty] | 0 |  | NO
[32 empty] | 0 |  | NO
[32 empty] | 0 |  | NO
NO
NO
[32 empty] | Supervisión |  | NO | 0
[32 empty] | Warranty Extension |  | NO | 0
[32 empty] | Meteo Station |  | SI | 10799.5294 | Meteo Station +
[32 empty] | Service package |  | SI | 0 | Service package
[35 empty] | 2336660.0793 | *DDP + Commissioning + Construction Spare Parts + 2 Years O&M Spare Parts + Equipotential wires on all piles + Meteo Station + Service package

## Sheet1
0. PROJECT BASIC INFO
Customer: | EIFFAGE | Offer Ref: | 2025-4
Project Name: | NATERA | Creation Date: | 2025-01-17
Total Power: | 27.2 | Expiration Date: | 2025-01-22